## Slide 1: MDANSE for neutron scattering analysis
Maciej Bartkowiak, Chi Y. Cheng, Sanghamitra Mukhopadhyay
MDANSE Workshop 2026
03/11/2026

## Slide 2: Presentation plan
Applications of molecular dynamics to neutron scattering techniques.
Simulation time and experiment energy.
Dynamic structure factor (coherent and incoherent).
Q-vector sampling.
Examples of neutron instrument resolution.
Neutron scattering length in static structure factor calculations.

## Slide 3: Which neutron scattering techniques can benefit from MD?
Diffraction
Reflectometry
Inelastic Neutron Scattering
(INS)
Small Angle Neutron Scattering (SANS)
Quasielastic Neutron Scattering (QENS)
Diffuse scattering
Time-averaged scattering length density profile
vDOS, S(Q,)
S(Q), but you may need a large simulation
S(Q,)

## Slide 4: Do you really need MD?
Diffraction
Reflectometry
Inelastic Neutron Scattering
(INS)
Small Angle Neutron Scattering (SANS)
Quasielastic Neutron Scattering (QENS)
Use average structure and thermal factors
You can model a scattering length density profile
For many systems you have: AbINS, Euphonic, SpinW
SasView, SASfit, etc. can model your system with fewer parameters
Very likely, yes.

## Slide 5: Molecular Dynamics: the boundary conditions
There are limits of what you can get from a specific MD trajectory.
Time limits:
Step size
Total number of steps
Space limits:
- Size of the simulation box (assuming there is one)

## Slide 6: Molecular Dynamics: the boundary conditions
Time step vs. vibrational frequencies
Time limits:
Step size
At the limit
Enough
Not enough

## Slide 7: Molecular Dynamics: the boundary conditions
Time step defines the maximum energy you can access.
Time limits:
Step size
At the limit
Enough
Not enough

## Slide 8: Molecular Dynamics: the boundary conditions
What about the total number of steps?
Time limits:
Step size
Number of steps

## Slide 9: Molecular Dynamics: the boundary conditions
Time limits:
Step size
Number of steps

## Slide 10: Molecular Dynamics: the boundary conditions
Adding more steps improves the sampling of the energy axis.
Time limits:
Step size
Number of steps

## Slide 11: Molecular Dynamics: the boundary conditions
Slow oscillations:
Try to cover one full period or more.

## Slide 12: Molecular Dynamics: the boundary conditions
The time axis of the trajectory defines the time axis of the result.
Examples:
5 fs step x 100 frames = 500 fs total time => up to 412 meV in 4.1 meV steps
10 fs step x 50 frames = 500 fs total time => up to 206 meV in 4.1 meV steps
5 fs step x 10000 frames = 50 ps total time => up to 412 meV in 0.041 meV steps
1 ps step x 50 frames = 50 ps total time => up to 2.05 meV in 0.041 meV steps

## Slide 13: Energy resolution

## Slide 14: Energy resolution as a time window

## Slide 15: Energy resolution as a time window

## Slide 16: Neutrons: how are neutron results different?
https://www.ncnr.nist.gov/resources/n-lengths/
Neutron scattering lengths can be used as weights when combining partial calculation results.
We will talk more about coherent and incoherent scattering lengths in the tutorials on Wednesday.

## Slide 17: Neutrons: isotopes and contrast matching
MDANSE calculates Static Structure Factor as:
This is where scattering lengths become part of the calculation.

## Slide 18: Neutrons: isotopes and contrast matching
A. K. Soper
http://dx.doi.org/10.1155/2013/279463
The Radial Distribution Functions of Water as Derived from Radiation Total Scattering Experiments:
Is There Anything We Can Say for Sure?

## Slide 19: Neutrons: isotopes and contrast matching
Static structure factor.
Coherent scattering length is the weight in the calculation.
Isotopically normal water.

## Slide 20: Neutrons: isotopes and contrast matching
Static structure factor.
Coherent scattering length is the weight in the calculation.
Fully deuterated water.

## Slide 21: QENS: Dynamic Structure Factor
Typically, we calculate two components of the Dynamic Structure Factor:
Dynamic Incoherent Structure Factor
proportional to the incoherent scattering cross section of contributing atoms,
calculated from correlations of individual atom positions over time.
2. Dynamic Coherent Structure Factor
proportional to the coherent scattering cross section of contributing atoms,
calculated from correlations between different atoms over time,
calculation on vectors commensurate with the reciprocal unit cell.

## Slide 22: QENS: Dynamic Incoherent Structure Factor

## Slide 23: QENS: Dynamic Incoherent Structure Factor

## Slide 24: QENS: Dynamic Incoherent Structure Factor

## Slide 25: QENS: Dynamic Incoherent Structure Factor

## Slide 26: QENS: Dynamic Coherent Structure Factor

## Slide 27: QENS: Dynamic Coherent Structure Factor

## Slide 28: QENS: Dynamic Coherent Structure Factor

## Slide 29: QENS: Dynamic Coherent Structure Factor

## Slide 30: QENS: Total Dynamic Structure Factor

## Slide 31: QENS: Total Dynamic Structure Factor

## Slide 32: Interlude: neutron properties
Energy
Momentum
0
E
k

## Slide 33: Neutrons: what is a Q vector?
Elastic scattering
For a single incoming neutron wavelength/energy/k vector
change of scattering direction changes the direction and length of Q

## Slide 34: Neutrons: what is a Q vector?
Inelastic scattering
For a single incoming neutron wavelength/energy/k vector
a single scattering direction covers many directions and lengths of Q

## Slide 35: Neutrons: what is Q vector sampling?
Elastic
scattering
Inelastic
scattering
In MDANSE:
We generate Q-vector shells,
Results are averaged over all the vectors in a shell,
For each shell, the entire energy transfer range is covered.
In real life:
The ki direction is fixed,
Not all kf directions are possible,
Not for every |Q| value the entire energy range can be covered.

## Slide 36: Neutrons: what is Q vector sampling?
Elastic
scattering
Inelastic
scattering
The QENS picture:
Energy range is small, so even for short Q vectors we should be able to cover it,
Energy range is small, so the resolution will be close to constant in the covered range.
Why do we generate multiple Q vectors with one |Q|?

## Slide 37: Neutrons: what is Q vector sampling?
Why do we generate multiple Q vectors with one |Q|?
Imagine you have a 0.01 mL sample of water.
The number of water molecules in this sample will be of the order of 1020.
How does your trajectory compare to this?

## Slide 38: Neutrons: what is Q vector sampling?
Why do we generate multiple Q vectors with one |Q|?
Imagine you have a 0.01 mL sample of water.
The number of water molecules in this sample will be of the order of 1020.
How does your trajectory compare to this?
We don’t sample all that many configurations in an MD trajectory.
Spherical sampling helps us re-use the same configurations in different orientations.

## Slide 39: Do we need spherical averaging?
System order
none (isotropic)
1D (nematic)
2D (layered)
3D (crystal)
Q vectors symmetry
spherical
circular
linear
individual points
Or, what are all the other vector generators for?

## Slide 40: How we use Q vectors for isotropic systems

## Slide 41: Molecular Dynamics: the boundary conditions
Space limits: size of the simulation box
Lattice
constant

## Slide 42: Molecular Dynamics: the boundary conditions
Increasing the size of the system gives access to lower Q values.
Space limits:
Size of the simulation box
supercell

## Slide 43: How we use Q vectors for isotropic systems

## Slide 44: How we use Q vectors for isotropic systems, using only lattice vectors

## Slide 45: Lattice vectors vs. spherical averaging
MDANSE was originally designed for liquid or powdered systems, usually q-vectors will be generated in a spherical shell and results are averaged.
A new mechanism to improve the spherical averaging has been added.
Generate reciprocal lattice points
Non-cubic lattice

## Slide 46: Lattice vectors vs. spherical averaging
MDANSE was originally designed for liquid or powdered systems, usually q-vectors will be generated in a spherical shell and results are averaged.
A new mechanism to improve the spherical averaging has been added.
Select reciprocal lattice points in a shell.

## Slide 47: Lattice vectors vs. spherical averaging
MDANSE was originally designed for liquid or powdered systems, usually q-vectors will be generated in a spherical shell and results are averaged.
A new mechanism to improve the spherical averaging has been added.
Old scheme can still be used by setting equal weights.
Calculate S(q, w) averaged over the q-vectors in the shell.
Old scheme

## Slide 48: Lattice vectors vs. spherical averaging
MDANSE was originally designed for liquid or powdered systems, usually q-vectors will be generated in a spherical shell and results are averaged.
A new mechanism to improve the spherical averaging has been added.
Old scheme can still be used by setting equal weights.
New scheme weights q-vectors based on its shell Voronoi cell volume.
Calculate S(q, w) with a weighted averaged over the q-vectors in the shell.
New scheme
Larger weight
Smaller weight

## Slide 49: MDANSE implementation of a “neutron instrument”
Basic features of a neutron instrument:
Resolution (constant, energy independent)
Coverage (evenly spaced in Q, finite width)

## Slide 50: MDANSE implementation of a “neutron instrument”
https://doi.org/10.1016/j.nima.2011.01.173
R.I. Bewley et al., Nuclear Instruments and Methods A, Volume 637, Issue 1, (2011) 128-134
In real life, at different Q we get different energy coverage.
In MDANSE, we get full energy range at every Q.

## Slide 51: Interlude: neutron properties
Energy (meV)
Momentum
(1/Ang)
Velocity (m/s)
Time of flight
10 m distance
(ms)
Wavelength
(Ang)
1
2
3
10
81.787
20.447
9.087
0.82
6.283
3.142
2.094
0.628
3955
1978
1318
396
2.53
5.01
7.6
25.3

## Slide 52: Neutron time of flight
Main principle:
We determine the neutron wavelength (and therefore energy) based on the
time needed to cover a distance.
This is all fine, but:
do we know how much time the neutron spent between the two points?
do we know how long the distance was?

## Slide 53: Neutron time of flight
Do we know how long the distance was?
detector
(tubes)
sample
neutron guide
These two trajectories
have different lengths,
but will show up in the same detector pixel.

## Slide 54: Neutron time of flight
Do we know how long the distance was?
detector
(tubes)
sample
neutron guide
These two trajectories
have different scattering angles,
but will show up in the same detector pixel.

## Slide 55: Neutron time of flight
Do we know how much time the neutron spent between the two points?
Faster choppers with smaller windows
reduce the time uncertainty.
Turn your TOF diffractometer into a direct TOF spectrometer with this one extra double-disc chopper!

## Slide 56: Neutron time of flight
CNCS design by G. Ehlers et al. https://doi.org/10.1063/1.3626935
L1
L2
L3
First chopper
Last chopper
Sample
Detector
pulse width of the first chopper
pulse width of the last chopper
TOF uncertainty due to sample size and detection volume

## Slide 57: Neutron time of flight: direct spectrometer
CNCS design by G. Ehlers et al. https://doi.org/10.1063/1.3626935
L1
L2
L3
First chopper
Last chopper
Sample
Detector
pulse width of the first chopper
pulse width of the last chopper
TOF uncertainty due to sample size and detection volume

## Slide 58: Neutron time of flight: direct spectrometer
CNCS design by G. Ehlers et al. https://doi.org/10.1063/1.3626935
L1
L2
L3
First chopper
Last chopper
Sample
Detector
pulse width of the first chopper
pulse width of the last chopper
TOF uncertainty due to sample size and detection volume

## Slide 59: Neutron time of flight: direct spectrometer
CNCS design by G. Ehlers et al. https://doi.org/10.1063/1.3626935

## Slide 60: Neutron time of flight: direct spectrometer
CNCS design by G. Ehlers et al. https://doi.org/10.1063/1.3626935
Using a constant peak width for the entire energy range works only for QENS, where the energy range is small.
MDANSE: ongoing work to start using ResIns for resolution calculations.

## Slide 61: How can we observe inelastic neutron scattering?
Time of flight instruments:
direct TOF spectrometer (one wavelength going in)
indirect TOF spectrometer (one wavelength going out)
Monochromatic instruments:
triple-axis spectrometers
from https://doi.org/10.1016/j.nima.2013.07.007
(M.D. Le et al., 2013)
triple axis spectrometer resolution volume